## Sheet1
Weight Scale Certification Record Sheet
USF Comparative Medicine
Certification Interval: 1 Year
Description: |  |  |  | Tolerance: +/- 2% OR |  |  | Location (Bldg/Room#): | [7 empty] | Serial #.:
Certification Date: | Certified By: | Step 1 | Step 2 Eccentricity Test |  |  |  | Step 3 Repeatability Test |  |  |  | Step 4 Weighing Test |  |  |  | In Specs. | Comments: | Next Calibration Date:
|  | Visual Inspection | Check |  |  | Certification | Check |  |  | Certification | Check |  |  | Certification
|  |  | Nominal | Actual |  | Pass/Fail | Nominal | Actual |  | Pass/Fail | Nominal | Actual |  | Pass/Fail
lllllllllllllllllllllllllllllllllllllllllllllllllllll |  | Pass | [12 empty] | Yes
|  | Fail | [12 empty] | No
Weight Scale Certification Record Sheet
USF Comparative Medicine
Certification Interval: 1 Year
Description: |  |  |  | Tolerance: +/- 2% OR |  |  | Location (Bldg/Room#): | [7 empty] | Serial #.:
Certification Date: | Certified By: | Step 1 | Step 2 Eccentricity Test |  |  |  | Step 3 Repeatability Test |  |  |  | Step 4 Weighing Test |  |  |  | In Specs. | Comments: | Next Calibration Date:
|  | Visual Inspection | Check |  | Certification |  | Check |  | Certification |  | Check |  | Certification
|  |  | Nominal | Actual | Pass/Fail | Pass/Fail | Nominal | Actual | Pass/Fail | Pass/Fail | Nominal | Actual | Pass/Fail | Pass/Fail
|  | Pass | [12 empty] | Yes
|  | Fail | [12 empty] | No
Weight Scale Certification Record Sheet
USF Comparative Medicine
Certification Interval: 1 Year
Description: |  |  |  | Tolerance: +/- 2% OR |  |  | Location (Bldg/Room#): | [7 empty] | Serial #.:
Certification Date: | Certified By: | Step 1 | Step 2 Eccentricity Test |  |  |  | Step 3 Repeatability Test |  |  |  | Step 4 Weighing Test |  |  |  | In Specs. | Comments: | Next Calibration Date:
|  | Visual Inspection | Check |  | Certification |  | Check |  | Certification |  | Check |  | Certification
|  |  | Nominal | Actual | Pass/Fail | Pass/Fail | Nominal | Actual | Pass/Fail | Pass/Fail | Nominal | Actual | Pass/Fail | Pass/Fail
|  | Pass | [12 empty] | Yes
|  | Fail | [12 empty] | No
Weight Scale Certification Record Sheet
USF Comparative Medicine
Certification Interval: 1 Year
Description: |  |  |  | Tolerance: +/- 2% OR |  |  | Location (Bldg/Room#): | [7 empty] | Serial #.:
Certification Date: | Certified By: | Step 1 | Step 2 Eccentricity Test |  |  |  | Step 3 Repeatability Test |  |  |  | Step 4 Weighing Test |  |  |  | In Specs. | Comments: | Next Calibration Date:
|  | Visual Inspection | Check |  | Certification |  | Check |  | Certification |  | Check |  | Certification
|  |  | Nominal | Actual | Pass/Fail | Pass/Fail | Nominal | Actual | Pass/Fail | Pass/Fail | Nominal | Actual | Pass/Fail | Pass/Fail
|  | Pass | [12 empty] | Yes
|  | Fail | [12 empty] | No